# Severe Weather Emergency Response Plan (SWERP)

Entity Name

Facility Name

Facility Address

As of Date

**This is a template to be used for your entity’s needs. You may add and remove as you see fit. Red font used to identify areas to be filled out by your entity**

**Please see Wind Emergency Response Plan for hurricane/wind preparations and clean-up procedures.

Person in charge of Severe Weather ERP:  Name/Title

ERP Team Members:   	   Name/Title

Name/Title

Name/Title

- Introduction:    This Severe Weather Emergency Response Plan (SWERP) has been established to clearly define actions that should be taken in the event of a pending severe weather event to our facilities. The plan is designed to proactively outline actions to be taken to reduce physical loss to buildings, vehicles, machinery and equipment and stock/supplies in order that we may resume operations as quickly as possible after the flood event is over. This plan is to be updated every year during the month of Month (preferably January or February before the Spring weather).

- Monitoring Potential Storm Event:     The _______ Manager will advise the Emergency Response Plan (ERP) leader when a thunderstorm warning is initiated. The ERP leader will assign personnel the responsibility to visually monitor the path of the storm and report the findings to the ERP leader. The ERP leader will be responsible for implementing various components of the ERP based on flash flood and hail warnings.

The entity’s buildings and vehicles are susceptible to high winds, flash flooding and hail produced from severe weather. When a thunderstorm watch is initiated for the entity’s coverage area, the ERP leader or designate (Shift Supervisor during off peak hours) shall initiate the entity’s Disaster Recovery phone tree. The listing of essential employees is as follows (add more as needed):

Name				Title			000-000-0000(H), 000-000-0000(C)

Name				Title			000-000-0000(H), 000-000-0000(C)

Name				Title			000-000-0000(H), 000-000-0000(C)

Name				Title			000-000-0000(H), 000-000-0000(C)

Name				Title			000-000-0000(H), 000-000-0000(C)

- Important Emergency Contact Phone Numbers

Electric Company		XYZ Electric			XXX-XXX-XXXX

Phone Company		XYZ Phone Service		XXX-XXX-XXXX

Internet Company		URL Internet			XXX-XXX-XXXX

Police Department		Non-emergency #		XXX-XXX-XXXX

Fire Department		Non-emergency #		XXX-XXX-XXXX

Elevator Service Company	Up/Down Elevator		XXX-XXX-XXXX

- Property damage threats common with severe weather

  - Front line winds – strong winds produced by a downdraft from the frontal clouds

  - Flash flooding – rapid flooding of low-lying areas during a heavy rainfall

  - Hail – frozen precipitation formed by updrafts in thunderstorms

  - Tornado – rotating column of air extending from the base of a thunderstorm

  - Electrical – Lightning strikes to the building and nearby power lines

- Before the severe weather event

Buildings:    The following precautions will be taken by essential staff to ensure safety of the building. (Add rows as needed)**

| Building component/area | Damage potential | Required Action |
| --- | --- | --- |
| Rooftop HVAC units | High winds | Ensure units are secured by straps and screws |
| Roofing material | Hail damage | Secure padding on flat roof |

Heavy Equipment and Vehicles:    Vehicles and heavy equipment shall be moved to covered areas to protect from hail damage. (Add rows as needed)**

For example, under a covered parking structure, garage, shop, underpass, gas station awning, bank awning, etc..

| Type of Equipment | Protection Measures |
| --- | --- |
| Fleet | Relocate to: - Shop area - Designated covered parking/garage - Nearby underpass - Gas station awning |
| Fleet | Cover with heavy duty car cover (if conditions allow) |
| Heavy equipment | Cover windows with panels and secure in place |

Identification of shelter in place location(s) for employees: Communicate the storm shelter location to all employees who remain on site during the storm.

| Building | Shelter in Place Location |
| --- | --- |
| Main office | Vault near conference room |

- Power Outages

- Contact the Electric Company to inform of the outage

Person to contact Electric Company: ERP Team Leader or Team Member	 (identify a person not a position)

- Increase natural lighting by opening window shades.

- Shut off and unplug electrical appliances and computers before the power comes back on.

- Cease activities or operations that involve potentially hazardous conditions.

- Secure personal belongings.

- Only leave the building if it is safe to be outside

- Use special care while moving about in an under-lighted work area to avoid injury resulting from low clearances, as well as, slips, trips, or falls.

- Keep an alternate source of light to facilitate safe exit in the event of a power outage on your person or in your immediate work area.

  - Cell phone

  - Battery operated flashlight

  - Do not use open flame devices for supplementary lighting.

- After the storm has passed:

Salvage and Business Resumption Plan (Immediately after the storm)

- Removal of any floodwater, mud and debris in and around any buildings by using wash down hoses, brooms, squeegees, mops, sump pumps and clean-up supplies.

- Analyze all salvageable materials and equipment, begin discard/removal of all non-salvageable materials/equipment.

- Contact the insurance company.

- Begin removing debris or contact a debris removal company.

- Photograph or videotape all damage.

  - This will be useful for insurance claim submissions

- Account for all damage related costs.

- Keep detailed records.

  - Establish record codes for purchases and repair work

  - Keep all receipts

- Conduct salvage operations.

  - Separate damaged from undamaged property.

- Take an inventory of damaged property. Damaged property and goods should be kept on hand until the insurance adjuster assesses the damage.

- Assess the value of damaged property and the impact of business interruption.

- Protect undamaged property by making temporary repairs.

- Contact the local building department to get a list of reputable contractors to assist in building repairs.

  - DO NOT use a contractor that shows up offering their services.

    - Do your research and choose the correct company

- If possible, remove smoke, water and debris.

- Clean roof drains and remove debris from roof to allow proper drainage.

- Visually check and open bus bars, conductors and exposed insulators before restarting main electrical distribution systems

- Remove sandbags, window boarding and other items used to protect the building exterior.

- Cleaning/drying of all essential equipment (lubricate as needed).

- Dehumidify/dry out all damp areas that are not commonly wet.

- Preserve equipment/materials that might otherwise be lost.

- Reclaim any salvageable supplies and operating equipment.

- Conduct safety walkthrough by the Safety Officer and/or Safety Committee. Necessary utilities and other building professionals should be included as needed: Fire Department, Electric/Gas Utilities, Building Inspector, etc.

- Contractors List/Phone Numbers (Add/remove as needed)**

After the storm:

Company Name			Roof Contractor			XXX-XXX-XXXX

Company Name			General Contractor		XXX-XXX-XXXX

Company Name			Auto body shop			XXX-XXX-XXXX

Company Name			Window repair vendor		XXX-XXX-XXXX

- Employee Safety

All Preparation and Recovery Teams

- Do not take short cuts!

  - Use the right tools for the job

  - If that means walking back to the shop to get the right tools/materials, you do it

  - Do not improvise

- Be mindful of trip hazards while prepping around the buildings

  - Cords and cables

  - Machines and tools

  - Building materials

  - Potholes in ground and parking lot

- When lifting, keep the item in front of you and as close to the body as possible.

- When crouching to lift, keep your back as vertical as possible and use your legs to lift.

- Team lift (ask for help) when items weigh more than you can comfortably lift and carry on your own

- Do not lift filled sandbags on your own

  - Use equipment or team lift

- Inspect all ladders prior to use to verify their stability

  - Ladders used for roof access should be secured to the building and should extend three feet beyond the roofline

- Wear appropriate Personal Protective Equipment (PPE)

  - Safety glasses

  - Gloves

  - Hard hat

- Utilize Lock out/Tag out if any work is performed on electrical/motorized equipment

  - One lock per individual working on the electrical equipment

Employee Safety Items – Make sure these items are ready to go by June 1 of every year

- Two radios

  - One for Emergency Broadcast System reports

  - One for weather reports

  - Battery powered or hand crank

- Two-way radio communication

Flashlights

  - Extra batteries

- Dust masks

- Sani wipes or moist towelettes

- Hand sanitizer

- Reserve water container for hand washing/showering

- Blankets

- Cash

  - Power outages will render credit cards useless

- All vehicle fuel levels topped off (prior to a storm)

- Reserve gas and diesel containers topped off (prior to a storm)

After the Storm

- Be mindful around high-water levels

  - Do not take unnecessary risks

  - Flooding will hide potential hazards

    - Hidden power lines

    - Potholes

- Be mindful of utility hazards

  - Live wires on the ground

  - Leaking gas or spilled flammable liquids

  - Release of poisonous gases

  - Damage to building foundation

  - Damage to underground piping

- Assume all water you come into contact with is unsanitary

  - Wash or sanitize your hands often

  - Carry latex or nitrile gloves with you, at all times